## Code Number
Product | Axial Fan | Balancing Damper | Heating Coil | Air Rotary Filter | Vaccum Cleaner | Dust Collector | Air Washer | Station Door | Air Static Filter | Sight Hatch | Water Supply | Control Unit | Electrical Cabinet | Duct | Water Rotary Filter
Abbreviation | AXF | DMP | HTC | ARF | VCL | DSC | ARW | STD | ASF | STH | WTS | LCS | ELC | DCT | WRF
PRODUCT NO. | 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 | 14 | 15
PRODUCT TYPE | 80 | GL | 1R | 15 | ST | ST | MS | ST | VT | ST | CP | DG
| 90 |  | 2R | 20 | bar: MS; DG
| 10 |  | 3R | 25
| 11 |  |  | 30
12
14
16
6S
SUB-PRODUCTS | Fan Casing | Frame | Frame | Drum | Casing | Casing | Eliminator | Frame | Frame | Frame | El. Motor | Cabinet | Cabinet | Duct
| Fan | Blade | Header | Drive Stand | Tractor | Fan | Air Baffle | Door | Filter | Door | Pump | Board |  | Reducer
|  | Actuating | Tube Bundle | Driven Stand | Driver | Nozzle Pack | Nozzle Bank | Hinge | Rail | Hinge | Chassis | Instrument |  | Diffuser
|  | Bird Screen |  | Driver |  |  | Water S Filter | Knob |  | Knob | Coupling | Control Valve |  | Connections
|  |  |  | Frame | MS: Chamber; CP: Piping; DG: Actuator
Tank
Chassis
Walkway
Product Group | Product | Product Type | Sub Product | Part
Air Cond. | Air Washer | Masonary | Eliminator | V Frame
01 | 03 | MS | 04 | 02